## Cover
UK Electricity Generation & Capacity Factor Dataset
Quarterly, 2000 - present, all generating companies
WORKBOOK STRUCTURE
1. Cover (this sheet) - sources, methodology, notes 2. Generation (TWh) - quarterly electricity generated by fuel/technology, Q1 2000-present 3. Capacity (MW) - installed nameplate capacity by fuel/technology, Q1 2000-present 4. Capacity Factor (%) - live formula: Generation / Capacity / hours in quarter
GENERATION - PRIMARY SOURCE
DESNZ, Energy Trends Table 5.1 (quarterly). File: ET_5_1_JUN_26.xlsx, published 30 June 2026. Sheet "Quarter", Table 5.1b "Electricity generated by fuel (TWh)", "All generating companies" rows. Covers Q1 2000 to Q1 2026 (Q1 2026 provisional). https://www.gov.uk/government/statistics/electricity-section-5-energy-trends
GENERATION - RENEWABLES BACKFILL, 2000-2009
DESNZ, DUKES Table 6.2 "Capacity of, and electricity generated from, renewable sources". File: DUKES_6_2.xlsx, published 31 July 2025, annual data 1990-2024. ET 5.1 only separately reports Onshore wind, Offshore wind, Solar and Shoreline wave/tidal from Q1 2010 onward. DUKES 6.2 has annual generation figures for all four back to 1990, used to backfill 2000-2009: each annual GWh figure was converted to TWh and divided evenly by 4 across that year's quarters (a simplification, not a seasonal estimate - see the Generation sheet's yellow-highlighted cells and the genuine 2010 data for comparison). Validated against ET 5.1 at the 2010 boundary for all four series (each matched within rounding).
CAPACITY - SOURCES AND AN IMPORTANT CORRECTION
Coal, Oil, Gas, Nuclear, Pumped storage and Other fuels capacity: DESNZ DUKES Table 5.7 "Plant capacity: United Kingdom", "All generating companies" rows, annual 1996-2024. Onshore wind, Offshore wind, Solar, Shoreline wave/tidal and Hydro capacity: DESNZ DUKES Table 6.2 "Installed Capacity" table, annual 1990-2024 - NOT Table 5.7. Why two different sources for capacity: DUKES 5.7 is explicitly a DE-RATED capacity table (its own cover sheet states wind, solar and small-scale hydro capacity are de-rated for intermittency, by factors of 0.43, 0.17 and 0.365 respectively - DUKES 5.7 Note 4). This is correct for DESNZ's own purpose (grid security/adequacy planning) but WRONG as a denominator for capacity factor, which needs true nameplate capacity. Using DUKES 5.7's de-rated wind/solar figures initially produced impossible capacity factors above 100% (offshore wind exceeded 100% in numerous winter quarters; the de-rating factors of 0.43 and 0.17 line up almost exactly with the resulting error ratios). DUKES 6.2's "Installed Capacity" table is NOT de-rated and gives genuine nameplate MW, confirmed by cross-checking 2024 offshore wind (15,836 MW here) against independently reported UK offshore wind capacity (~16 GW) - a match. Coal/Oil/Gas/Nuclear are not de-rated in DUKES 5.7 (de-rating only applies to wind/solar/small-hydro per Note 4), so those remain sourced from Table 5.7 as before.
CAPACITY - 2025/2026 FORWARD-FILL
Both DUKES 5.7 and 6.2's most recent year is 2024 (2025 data publishes July 2026, after this workbook was built). Capacity for 2025 and Q1 2026 has been forward-filled from the 2024 figure and is flagged in the "capacity forward filled" column on the Capacity sheet. This will understate true capacity for any technology that grew significantly in 2025 (notably offshore wind) - treat 2025/2026 capacity factor figures with more caution than earlier years until this is updated with real DUKES 2025 data.
CAPACITY - ANNUAL-TO-QUARTERLY REPETITION
DUKES publishes capacity annually only (as at end of December); each year's figure is repeated across its four quarters. This is standard practice and not a simplification in the same sense as the generation backfill, since capacity does not have within-year seasonality - it only changes when plants are built, retired or re-rated. The one place this breaks down noticeably is COAL IN 2024: the UK's last coal plant (Ratcliffe-on-Soar) closed in September 2024, so the end-of-year 2024 capacity figure (18 MW) is far below the capacity that actually existed and generated in Q1-Q3 2024. This produces an inflated (and clearly wrong) coal capacity factor for 2024 on the Capacity Factor sheet - a known artefact of annual-only capacity data during a rapid in-year closure, not a data error. Treat 2024 coal capacity factor as unreliable.
CAPACITY FACTOR - METHOD
Live formula on the Capacity Factor sheet: Capacity Factor = Generation (TWh) x 1,000,000 / (Capacity (MW) x hours in quarter). Hours in quarter is calculated exactly per calendar quarter, accounting for leap years. Formulas reference the Generation and Capacity sheets directly by row, so the sheet recalculates automatically if source data is edited. Cells show "n/a" where capacity is not available (Battery storage, throughout).
VALIDATION AGAINST DESNZ'S OWN PUBLISHED LOAD FACTORS
Cross-checked against DESNZ's own published 2024 load factors (DUKES Table 6.3 for renewables, commentary in DUKES Chapter 5/6 for others): Offshore wind: this workbook computes 35.2% for 2024; DESNZ's published figure is 36.6% - a close match (within 1.4 points), and both show the same year-on-year decline from 2023 (44.8% to 36.6% per DESNZ; 38.5% to 35.2% here). Solar: this workbook computes 9.4% for 2024; DESNZ states solar's 2024 load factor "slipped below 10 per cent" - matches. Nuclear generation: this workbook sums 40.59 TWh for 2024; DESNZ states 2024 nuclear generation was 40.6 TWh - matches almost exactly, confirming the generation-side data is correct. Nuclear capacity factor: this workbook computes 78.5% for 2024 vs DESNZ's published 72.3% - a ~6pp gap. Since generation matches almost exactly, the gap is in the capacity denominator. UK nuclear capacity is quoted under two different conventions depending on source: DUKES 5.7's own methodology note states it uses grid export/transmission entry capacity where available (net of the plant's own house-load), giving 5,883 MW for 2024 - the figure used in this workbook. Other sources (e.g. Wikipedia's UK energy overview) cite total installed/nameplate nuclear capacity as approximately 6.8 GW - a larger, gross figure. DESNZ's own headline load-factor statistic (DUKES Table 5.10, not obtained for this workbook) most likely uses this larger capacity basis, which would mechanically produce a lower load factor than one calculated from Table 5.7's smaller net export figure - consistent with the direction and rough size of the gap seen here. This is a genuine convention difference in how UK nuclear capacity is reported, not an error in the generation or capacity figures themselves, both of which are taken directly from official DESNZ publications. Gas: no independent single-fuel benchmark was found to check against directly.
KNOWN LIMITATIONS - PLEASE READ BEFORE USING
• Coal capacity factor for 2024 is unreliable (see above - in-year plant closure not captured by annual capacity data). • "Other fuels" capacity factor is unreliable in recent years: ET 5.1's "Other fuels" generation category and DUKES 5.7's "Mixed or dual fuelled" + "Other fossil fuels" capacity category are not perfectly aligned definitions, and both have shrunk to near-zero in different years, which can produce large swings or inflated percentages. Treat with caution; a proper fix would need a category-by-category reconciliation between the two source tables. • Battery storage: no generation before Q1 2017 and no capacity series available at all - left as not available throughout. • 2000-2009 onshore/offshore wind, solar and marine generation are quarter-evenly-split annual estimates, not directly reported quarterly figures (see Generation sheet, yellow cells). • 2025-2026 capacity is forward-filled from 2024 (see above).
CURTAILMENT / CONSTRAINT COSTS - SOURCE (CORRECTED, COMPLETE)
NESO "Constraint Breakdown" dataset, daily system balancing costs split into four categories: Thermal constraints, Voltage constraints, Increasing system inertia, Reducing largest loss. Files: constraint-breakdown-YYYY-YYYY.csv, financial years 2017/18 through 2025/26 (complete, no gaps). https://www.neso.energy/data-portal/constraint-breakdown Coverage: 1 April 2017 to 31 March 2026, aggregated from daily to quarterly. One single day (8 April 2025) is missing from the underlying daily data due to a gap between source files; negligible at quarterly aggregation.
IMPORTANT: THIS REPLACES AN EARLIER, INCORRECT VERSION OF THIS SHEET
An earlier version of this sheet used NESO's separate "Thermal Constraint Costs" dataset (outturn-system-costs-*.csv, by named boundary group), which turned out to significantly UNDERCOUNT the true cost - that dataset explicitly covers only "a number of significant" named boundaries, not the full national total. This was caught by cross-checking against NESO's own published headline figures: NESO's Annual Balancing Costs Report states thermal constraint costs were approximately £1.7bn in FY2024/25 and £1.04bn in FY2023/24. Summing this dataset's "Thermal constraints cost" column for the same periods gives £1,710,004,055 and £1,039,607,071 respectively - matching almost exactly. The earlier boundary-group dataset gave only £555.8m and £506.3m for the same two years - roughly a 2-3x undercount. This dataset (Constraint Breakdown) is the validated, correct source.
WHAT THIS MEASURES
Total system balancing cost from four types of network constraint action: Thermal (managing transmission line capacity limits - the dominant category and the one most directly linked to wind curtailment), Voltage, Increasing system inertia, and Reducing largest loss. This is the FULL cost - both paying generators (mostly wind, in Scotland) to reduce output and paying other generators (mostly gas, in England) to increase output elsewhere to compensate.
KNOWN LIMITATIONS
• SPIKE: Q4 2021 shows an unusually large total cost (£697m, driven mainly by a £627m thermal constraint figure) - flagged red on the Curtailment sheet rather than smoothed or treated as an error. Plausibly linked to a significant grid event in that period (e.g. the North Sea Link/IFA interconnector and transmission issues around that time); not independently verified against news reporting as part of this workbook. • Data starts Q2 2017 (1 April 2017) - does not extend back to 2000 like the rest of the workbook. Only compare against the Generation/Capacity/Capacity Factor sheets for the overlapping window (2017-2026). • This is total constraint cost, not solely payments to wind farms - includes compensation paid to replacement generation (mostly gas) as well as the curtailed generator itself. • Q1 2026 capacity/generation figures elsewhere in this workbook are provisional/forward-filled; bear this in mind if comparing the very latest quarter across sheets.

## Generation (TWh)
UK Electricity Generation by Fuel (TWh) - Quarterly, All Generating Companies
Source: DESNZ Energy Trends Table 5.1 (2010+ splits); DUKES Table 6.2 backfill (2000-2009, wind/solar/marine). See Cover sheet.
Year | Quarter | Provisional | Coal | Oil | Gas | Nuclear | Hydro (natural flow) | Onshore wind | Offshore wind | Shoreline wave / tidal | Solar | Bioenergy | Other fuels | Pumped storage | Battery storage | Total all generating companies | Onshore wind backfilled | Offshore wind backfilled | Solar backfilled | Marine backfilled
2000 | 1 |  | 32.5625 | 1.8032 | 40.8957 | 22.9725 | 2.1272 | 0.2362 | 0.0002 | 0 | 0.0003 | 1.0836 | 1.116 | 0.6954 | [x] | 103.4814
2000 | 2 |  | 26.5675 | 1.5093 | 35.4085 | 21.073 | 0.6813 | 0.2362 | 0.0002 | 0 | 0.0003 | 1.017 | 1.3754 | 0.6437 | [x] | 88.5067
2000 | 3 |  | 25.3221 | 1.4077 | 34.7805 | 19.7057 | 0.5747 | 0.2362 | 0.0002 | 0 | 0.0003 | 1.1123 | 0.7226 | 0.6319 | [x] | 84.5007
2000 | 4 |  | 35.4977 | 1.8039 | 36.9919 | 21.3116 | 1.7025 | 0.2362 | 0.0002 | 0 | 0.0003 | 1.1152 | 1.187 | 0.7234 | [x] | 100.5805
2001 | 1 |  | 41.0145 | 1.9467 | 37.4734 | 22.7801 | 1.0382 | 0.24 | 0.0012 | 0 | 0.0005 | 1.163 | 0.9424 | 0.6815 | [x] | 107.2868
2001 | 2 |  | 29.1334 | 1.3971 | 35.9075 | 20.1834 | 0.5784 | 0.24 | 0.0012 | 0 | 0.0005 | 1.2253 | 0.9043 | 0.368 | [x] | 89.9326
2001 | 3 |  | 26.0037 | 0.7744 | 32.9445 | 22.3834 | 0.6334 | 0.24 | 0.0012 | 0 | 0.0005 | 1.3153 | 0.8752 | 0.5732 | [x] | 85.7363
2001 | 4 |  | 35.3089 | 1.135 | 35.5806 | 24.7457 | 1.8046 | 0.24 | 0.0012 | 0 | 0.0005 | 1.3438 | 0.8551 | 0.7993 | [x] | 101.823
2002 | 1 |  | 37.3564 | 1.1829 | 38.2859 | 24.5499 | 1.972 | 0.3128 | 0.0012 | 0 | 0.0007 | 1.4296 | 0.9178 | 0.7381 | [x] | 106.6832
2002 | 2 |  | 24.2773 | 0.9207 | 38.7051 | 21.5497 | 1.1367 | 0.3128 | 0.0012 | 0 | 0.0007 | 1.3653 | 0.8639 | 0.59 | [x] | 89.6843
2002 | 3 |  | 24.8788 | 1.1447 | 37.8918 | 20.6235 | 0.6523 | 0.3128 | 0.0012 | 0 | 0.0007 | 1.3888 | 0.9453 | 0.638 | [x] | 88.4951
2002 | 4 |  | 37.7661 | 1.5506 | 37.3947 | 21.1253 | 1.0265 | 0.3128 | 0.0012 | 0 | 0.0007 | 1.4416 | 0.992 | 0.6856 | [x] | 102.3833
2003 | 1 |  | 40.676 | 1.2931 | 36.9207 | 24.5177 | 0.9843 | 0.3189 | 0.0025 | 0 | 0.0007 | 1.7016 | 1.0049 | 0.6535 | [x] | 108.1524
2003 | 2 |  | 30.2696 | 1.1103 | 35.2911 | 22.4442 | 0.6851 | 0.3189 | 0.0025 | 0 | 0.0007 | 1.5844 | 0.9734 | 0.5904 | [x] | 93.1988
2003 | 3 |  | 27.199 | 0.91 | 37.6067 | 20.832 | 0.5088 | 0.3189 | 0.0025 | 0 | 0.0007 | 1.5885 | 0.8972 | 0.7683 | [x] | 90.5108
2003 | 4 |  | 40.3143 | 1.2807 | 39.0642 | 20.8924 | 1.0495 | 0.3189 | 0.0025 | 0 | 0.0007 | 1.8168 | 0.9245 | 0.7217 | [x] | 106.5007
2004 | 1 |  | 41.487 | 1.3182 | 39.246 | 23.5359 | 1.5164 | 0.4341 | 0.0497 | 0 | 0.001 | 1.9308 | 0.6728 | 0.7146 | [x] | 110.9227
2004 | 2 |  | 25.7467 | 1.0779 | 37.7853 | 18.6028 | 0.7339 | 0.4341 | 0.0497 | 0 | 0.001 | 1.9389 | 0.7656 | 0.6283 | [x] | 87.6402
2004 | 3 |  | 25.9913 | 0.9667 | 39.3549 | 18.6708 | 0.9713 | 0.4341 | 0.0497 | 0 | 0.001 | 1.921 | 0.6769 | 0.6141 | [x] | 89.6281
2004 | 4 |  | 38.5625 | 1.2809 | 40.6787 | 19.1896 | 1.6229 | 0.4341 | 0.0497 | 0 | 0.001 | 2.1497 | 0.9467 | 0.6915 | [x] | 105.7387
2005 | 1 |  | 42.5372 | 1.5398 | 36.5392 | 22.4613 | 1.6464 | 0.6253 | 0.1007 | 0 | 0.002 | 2.5343 | 0.9351 | 0.7662 | [x] | 109.7115
2005 | 2 |  | 27.5072 | 0.8265 | 39.7866 | 19.7997 | 1.03 | 0.6253 | 0.1007 | 0 | 0.002 | 2.2273 | 0.8938 | 0.5626 | [x] | 93.1753
2005 | 3 |  | 22.1677 | 0.8313 | 40.9607 | 20.3737 | 0.7256 | 0.6253 | 0.1007 | 0 | 0.002 | 2.1871 | 0.9356 | 0.691 | [x] | 89.5646
2005 | 4 |  | 42.4249 | 2.1405 | 35.3554 | 18.9834 | 1.5209 | 0.6253 | 0.1007 | 0 | 0.002 | 2.7367 | 0.9114 | 0.91 | [x] | 105.9098
2006 | 1 |  | 50.0348 | 2.3844 | 30.5935 | 22.3665 | 1.1162 | 0.8934 | 0.1628 | 0 | 0.0027 | 2.5897 | 0.9056 | 1.0735 | [x] | 112.1581
2006 | 2 |  | 30.0308 | 1.1271 | 34.4797 | 19.8388 | 0.9682 | 0.8934 | 0.1628 | 0 | 0.0027 | 2.3228 | 0.8068 | 0.8033 | [x] | 91.1657
2006 | 3 |  | 28.261 | 1.2031 | 36.1506 | 18.7917 | 0.6774 | 0.8934 | 0.1628 | 0 | 0.0027 | 2.2964 | 0.8243 | 0.9897 | [x] | 90.2009
2006 | 4 |  | 40.5234 | 1.4583 | 39.6044 | 14.4536 | 1.8315 | 0.8934 | 0.1628 | 0 | 0.0027 | 2.7185 | 0.8342 | 0.986 | [x] | 103.7576
2007 | 1 |  | 38.9954 | 1.3624 | 43.7317 | 15.5477 | 1.9561 | 1.1228 | 0.1956 | 0 | 0.0035 | 2.4687 | 0.7989 | 0.8904 | [x] | 107.3995
2007 | 2 |  | 25.392 | 1.1508 | 44.399 | 15.1161 | 0.8509 | 1.1228 | 0.1956 | 0 | 0.0035 | 2.1375 | 0.9048 | 0.8654 | [x] | 91.7488
2007 | 3 |  | 26.9986 | 0.9135 | 37.3155 | 17.3229 | 0.9525 | 1.1228 | 0.1956 | 0 | 0.0035 | 2.1648 | 0.9499 | 1.0342 | [x] | 88.8468
2007 | 4 |  | 44.5579 | 1.6215 | 40.3469 | 15.0417 | 1.3178 | 1.1228 | 0.1956 | 0 | 0.0035 | 2.5535 | 0.8138 | 1.0693 | [x] | 108.8348
2008 | 1 |  | 35.2166 | 1.1657 | 48.517 | 14.4654 | 1.9841 | 1.447 | 0.3339 | 0 | 0.0043 | 2.4159 | 0.853 | 0.9528 | [x] | 107.7861
2008 | 2 |  | 27.7011 | 1.3648 | 42.7432 | 12.1981 | 0.8492 | 1.447 | 0.3339 | 0 | 0.0043 | 2.2769 | 0.8458 | 0.9345 | [x] | 90.1819
2008 | 3 |  | 23.1849 | 1.7282 | 44.1041 | 12.0707 | 0.7323 | 1.447 | 0.3339 | 0 | 0.0043 | 2.2941 | 0.7127 | 1.0888 | [x] | 87.2248
2008 | 4 |  | 38.2788 | 2.45 | 40.8547 | 13.7516 | 1.5756 | 1.447 | 0.3339 | 0 | 0.0043 | 2.5794 | 0.7767 | 1.1128 | [x] | 103.7253
2009 | 1 |  | 39.8344 | 2.1489 | 37.9905 | 16.9531 | 1.5662 | 1.8823 | 0.4385 | 0.0002 | 0.005 | 2.8196 | 0.8195 | 1.0413 | [x] | 105.7753
2009 | 2 |  | 20.1269 | 1.1302 | 38.8286 | 18.1116 | 0.9171 | 1.8823 | 0.4385 | 0.0002 | 0.005 | 2.5401 | 0.7486 | 0.8229 | [x] | 85.2111
2009 | 3 |  | 16.4041 | 1.1399 | 42.8623 | 17.7288 | 1.1344 | 1.8823 | 0.4385 | 0.0002 | 0.005 | 2.4893 | 0.847 | 0.9074 | [x] | 85.6326
2009 | 4 |  | 26.6726 | 1.5756 | 46.8173 | 16.3041 | 1.6101 | 1.8823 | 0.4385 | 0.0002 | 0.005 | 2.8653 | 0.7807 | 0.9136 | [x] | 100.1348
2010 | 1 |  | 32.6166 | 1.4378 | 48.1857 | 18.1902 | 0.8449 | 1.7574 | 0.6709 | 0.0005 | 0.0057 | 2.9693 | 0.6398 | 0.8647 | [x] | 108.1833
2010 | 2 |  | 19.5307 | 0.9248 | 45.4867 | 13.8797 | 0.6525 | 1.1985 | 0.4604 | 0.0006 | 0.0112 | 2.9286 | 0.6703 | 0.7627 | [x] | 86.5067
2010 | 3 |  | 19.7906 | 1.1368 | 40.83 | 13.0171 | 0.8557 | 1.9337 | 0.8257 | 0.0006 | 0.0145 | 3.1264 | 0.6416 | 0.705 | [x] | 82.8777
2010 | 4 |  | 35.6563 | 1.3061 | 41.1511 | 17.0527 | 1.2383 | 2.3364 | 1.1027 | 0.0001 | 0.0089 | 3.237 | 0.593 | 0.8181 | [x] | 104.5006
2011 | 1 |  | 35.1264 | 0.9069 | 38.3009 | 19.4516 | 1.3037 | 2.3966 | 0.9981 | 0.0002 | 0.0153 | 3.3614 | 0.7384 | 0.7704 | [x] | 103.3699
2011 | 2 |  | 19.041 | 0.5614 | 36.9241 | 19.1546 | 1.1416 | 2.4922 | 1.1286 | 0.0003 | 0.0661 | 3.1551 | 0.7477 | 0.6536 | [x] | 85.0663
2011 | 3 |  | 19.0959 | 0.7718 | 38.6148 | 15.7581 | 1.2313 | 1.9148 | 1.0985 | 0.0002 | 0.1052 | 3.3483 | 0.779 | 0.7019 | [x] | 83.4199
2011 | 4 |  | 35.179 | 0.8788 | 32.6591 | 14.6161 | 2.0152 | 4.0104 | 1.9239 | 0.0002 | 0.0571 | 3.448 | 0.5583 | 0.7796 | [x] | 96.1258
2012 | 1 |  | 42.0411 | 0.8557 | 27.226 | 17.1989 | 1.8251 | 3.5652 | 1.507 | 0.001 | 0.1782 | 3.9257 | 0.7812 | 0.794 | [x] | 99.8991
2012 | 2 |  | 31.2252 | 0.6726 | 25.2327 | 18.5256 | 0.7955 | 2.242 | 1.6499 | 0.0009 | 0.4378 | 3.0077 | 0.8634 | 0.6747 | [x] | 85.328
2012 | 3 |  | 28.7731 | 0.563 | 22.9812 | 18.0309 | 1.0535 | 2.6475 | 1.7074 | 0.0012 | 0.5541 | 3.5445 | 0.878 | 0.7051 | [x] | 81.4396
2012 | 4 |  | 40.7526 | 0.8 | 24.7296 | 16.6496 | 1.635 | 3.7892 | 2.7387 | 0.0012 | 0.1836 | 4.2559 | 0.878 | 0.7927 | [x] | 97.2063
2013 | 1 |  | 41.4258 | 0.5263 | 27.2375 | 18.2848 | 1.2522 | 3.9745 | 2.8046 | 0.0013 | 0.1402 | 4.1396 | 0.8407 | 0.7421 | [x] | 101.3696
2013 | 2 |  | 28.8372 | 0.4613 | 24.1653 | 15.4703 | 0.9694 | 3.8736 | 2.6149 | 0.0011 | 0.701 | 5.0619 | 0.8853 | 0.6916 | [x] | 83.733
2013 | 3 |  | 26.5523 | 0.5912 | 21.3326 | 18.6876 | 0.7434 | 2.7685 | 1.9653 | 0.001 | 0.8596 | 4.4595 | 0.8324 | 0.7076 | [x] | 79.501
2013 | 4 |  | 33.4426 | 0.4874 | 23.1075 | 18.1641 | 1.7365 | 6.3088 | 4.0869 | 0.0014 | 0.3094 | 4.4387 | 0.8341 | 0.7626 | [x] | 93.6801
2014 | 1 |  | 34.5486 | 0.5451 | 21.7456 | 16.5262 | 2.2434 | 6.6662 | 4.3838 | 0.0005 | 0.4704 | 4.5686 | 0.9883 | 0.7908 | [x] | 93.4775
2014 | 2 |  | 22.0964 | 0.5112 | 23.7729 | 17.5033 | 1.1133 | 3.0364 | 2.0921 | 0.0009 | 1.4729 | 5.4493 | 0.9439 | 0.6711 | [x] | 78.6639
2014 | 3 |  | 15.8987 | 0.4456 | 29.1482 | 15.6598 | 0.7787 | 2.8841 | 2.2421 | 0.0002 | 1.5618 | 5.9146 | 0.9601 | 0.6283 | [x] | 76.1222
2014 | 4 |  | 27.6952 | 0.4182 | 26.2253 | 14.0586 | 1.7524 | 5.9681 | 4.6866 | 0.0006 | 0.5489 | 6.6865 | 0.9989 | 0.7933 | [x] | 89.8324
2015 | 1 |  | 29.5535 | 0.5208 | 23.6348 | 18.1734 | 2.0105 | 7.1609 | 4.6753 | 0.0006 | 0.9375 | 6.9598 | 1.1996 | 0.7227 | [x] | 95.5492
2015 | 2 |  | 16.0144 | 0.4233 | 23.4781 | 16.9193 | 1.4253 | 4.7574 | 3.5776 | 0.0005 | 3.1043 | 7.018 | 1.1577 | 0.6498 | [x] | 78.5256
2015 | 3 |  | 12.8294 | 0.5437 | 26.5625 | 16.562 | 1.0284 | 3.809 | 3.4123 | 0.0005 | 2.6952 | 7.0594 | 1.1687 | 0.6533 | [x] | 76.3243
2015 | 4 |  | 17.481 | 0.5494 | 26.2001 | 18.6902 | 1.833 | 7.1247 | 5.7576 | 0.0005 | 0.7958 | 8.2198 | 1.1104 | 0.7137 | [x] | 88.4761
2016 | 1 |  | 14.6905 | 0.337 | 34.0972 | 17.3382 | 2.0816 | 6.3243 | 5.1483 | 0 | 1.4572 | 8.5283 | 1.4005 | 0.7625 | [x] | 92.1655
2016 | 2 |  | 4.5761 | 0.5607 | 34.4957 | 16.6577 | 0.9326 | 3.9571 | 3.2522 | 0 | 3.8682 | 7.7078 | 1.2954 | 0.6888 | [x] | 77.9923
2016 | 3 |  | 2.7121 | 0.455 | 32.668 | 18.858 | 1.148 | 4.5993 | 3.5819 | 0 | 3.7392 | 6.2226 | 1.344 | 0.6928 | [x] | 76.0208
2016 | 4 |  | 8.6899 | 0.5376 | 42.0952 | 18.8722 | 1.2083 | 5.873 | 4.4234 | 0 | 1.3305 | 7.6069 | 1.5336 | 0.8152 | [x] | 92.9856
2017 | 1 |  | 10.4297 | 0.372 | 37.8503 | 17.6441 | 1.7984 | 5.1653 | 2.6437 | 0.0003 | 1.1882 | 8.9658 | 1.285 | 0.7913 | 0 | 93.2325
2017 | 2 |  | 1.5393 | 0.3585 | 31.7795 | 17.8324 | 0.8639 | 3.8616 | 1.9941 | 0.0001 | 3.3979 | 7.8263 | 1.2989 | 0.6935 | 0 | 75.7679
2017 | 3 |  | 2.1612 | 0.4586 | 30.1398 | 18.172 | 1.2638 | 6.3762 | 4.0418 | 0.0024 | 2.927 | 7.7654 | 1.2994 | 0.6364 | 0 | 74.4151
2017 | 4 |  | 8.4002 | 0.4254 | 36.9763 | 16.6878 | 1.9557 | 7.633 | 4.3942 | 0.0013 | 0.9664 | 7.3368 | 1.3362 | 0.7509 | 0.0005 | 91.8044
2018 | 1 |  | 8.7119 | 0.4875 | 36.9017 | 16.6444 | 1.5645 | 9.5614 | 7.927 | 0.0031 | 1.7931 | 7.7762 | 1.6 | 0.7456 | 0.0035 | 93.7199
2018 | 2 |  | 1.2096 | 0.292 | 32.1163 | 16.6295 | 0.9536 | 5.4366 | 4.727 | 0.0031 | 4.9094 | 8.6696 | 1.5394 | 0.6576 | 0.0065 | 77.1502
2018 | 3 |  | 1.854 | 0.323 | 29.0572 | 17.2475 | 0.8909 | 5.547 | 5.018 | 0.0011 | 4.481 | 8.8261 | 1.4926 | 0.5307 | 0.011 | 75.2801
2018 | 4 |  | 5.056 | 0.4707 | 33.4145 | 14.5424 | 2.0343 | 9.8375 | 8.8532 | 0.0019 | 1.4849 | 9.8298 | 1.4974 | 0.5645 | 0.0149 | 87.6019
2019 | 1 |  | 3.0555 | 0.5844 | 36.8988 | 13.9059 | 1.8913 | 9.8363 | 8.6 | 0.0032 | 1.9178 | 8.9751 | 1.8988 | 0.5635 | 0.0186 | 88.1492
2019 | 2 |  | 0.4624 | 0.5746 | 33.4341 | 13.0668 | 0.8318 | 6.0517 | 5.9362 | 0.0039 | 4.6208 | 9.1203 | 1.8081 | 0.3385 | 0.0175 | 76.2666
2019 | 3 |  | 0.7323 | 0.4704 | 28.867 | 13.5927 | 1.4061 | 6.7959 | 7.1883 | 0.004 | 4.4883 | 9.087 | 1.8016 | 0.3709 | 0.0189 | 74.8234
2019 | 4 |  | 2.665 | 0.3584 | 33.8887 | 15.6186 | 1.8037 | 9.1759 | 10.2507 | 0.0029 | 1.3912 | 10.3438 | 1.925 | 0.4835 | 0.0269 | 87.9343
2020 | 1 |  | 3.3348 | 0.334 | 27.1733 | 13.0224 | 2.4767 | 12.9871 | 13.3747 | 0.0029 | 1.8971 | 10.1188 | 1.5738 | 0.4257 | 0.0279 | 86.7491
2020 | 2 |  | 0.4207 | 0.2278 | 23.255 | 11.9003 | 1.0118 | 6.1196 | 7.3113 | 0.0031 | 5.1888 | 9.698 | 1.5397 | 0.2859 | 0.0301 | 66.9922
2020 | 3 |  | 0.5669 | 0.3703 | 30.1509 | 11.0425 | 1.1853 | 6.7069 | 8.0321 | 0.0034 | 4.099 | 9.0014 | 1.4166 | 0.3262 | 0.0304 | 72.932
2020 | 4 |  | 1.3771 | 0.499 | 31.3148 | 14.2739 | 2.2044 | 9.0594 | 12.0322 | 0.0018 | 1.362 | 9.747 | 1.1972 | 0.5293 | 0.0247 | 83.6229
2021 | 1 |  | 2.4681 | 0.464 | 32.6489 | 11.554 | 1.7729 | 10.016 | 11.2192 | 0.0013 | 1.7339 | 10.3222 | 1.4561 | 0.4848 | 0.0214 | 84.1627
2021 | 2 |  | 0.7988 | 0.4624 | 30.9266 | 11.4912 | 1.0012 | 5.3299 | 6.2157 | 0.0012 | 4.848 | 9.7728 | 1.4061 | 0.4301 | 0.0144 | 72.6986
2021 | 3 |  | 1.5718 | 0.4796 | 29.2278 | 10.7329 | 0.5644 | 4.0237 | 6.1513 | 0.0013 | 4.0863 | 9.233 | 1.3658 | 0.4206 | 0.0138 | 67.8723
2021 | 4 |  | 1.9466 | 0.5557 | 30.0327 | 12.3258 | 2.0799 | 9.957 | 12.0111 | 0.0016 | 1.4603 | 10.6731 | 1.5011 | 0.558 | 0.0442 | 83.1471
2022 | 1 |  | 2.5924 | 0.7471 | 28.0558 | 12.4365 | 1.8556 | 11.7816 | 12.6492 | 0.0015 | 2.1627 | 10.0609 | 1.5213 | 0.5883 | 0.0403 | 84.4932
2022 | 2 |  | 0.5101 | 0.6406 | 31.8739 | 12.8643 | 0.88 | 7.4673 | 8.9003 | 0.0027 | 5.1984 | 8.2706 | 1.5358 | 0.4437 | 0.0357 | 78.6234
2022 | 3 |  | 1.5199 | 0.725 | 34.2533 | 10.7994 | 0.6445 | 5.6894 | 7.7566 | 0.0034 | 4.9053 | 9.2824 | 1.5033 | 0.4034 | 0.0372 | 77.5231
2022 | 4 |  | 1.3207 | 0.7175 | 30.935 | 11.3003 | 1.6875 | 10.1634 | 15.8066 | 0.0035 | 1.7164 | 8.338 | 1.5555 | 0.5555 | 0.0813 | 84.1811
2023 | 1 |  | 1.196 | 0.6221 | 26.9882 | 9.7606 | 1.8396 | 10.4738 | 15.0373 | 0.0032 | 2.2626 | 8.9221 | 1.61 | 0.6641 | 0.1163 | 79.4959
2023 | 2 |  | 0.2807 | 0.4855 | 25.8669 | 10.1264 | 0.8449 | 5.384 | 8.5781 | 0.0032 | 5.7459 | 7.348 | 1.5843 | 0.2962 | 0.1298 | 66.674
2023 | 3 |  | 0.7241 | 0.4711 | 24.1903 | 10.4861 | 1.0602 | 6.8739 | 9.796 | 0.0034 | 4.9675 | 7.9528 | 1.5532 | 0.2459 | 0.2118 | 68.5363
2023 | 4 |  | 1.4521 | 0.422 | 24.6636 | 10.2229 | 1.8645 | 10.6008 | 16.0235 | 0.0029 | 1.9155 | 9.8618 | 1.5246 | 0.6171 | 0.3073 | 79.4786
2024 | 1 |  | 1.348 | 0.4129 | 25.8971 | 8.272 | 2.0433 | 10.8986 | 15.126 | 0.0029 | 1.8438 | 10.0151 | 1.5829 | 0.6475 | 0.3261 | 78.4161
2024 | 2 |  | 0.4047 | 0.4118 | 16.5619 | 11.3606 | 1.0777 | 7.2979 | 9.9947 | 0.0033 | 5.7689 | 9.7034 | 1.6155 | 0.4646 | 0.3547 | 65.0198
2024 | 3 |  | 0.2846 | 0.4115 | 17.3389 | 11.3236 | 1.1164 | 6.9403 | 9.8376 | 0.0032 | 5.5463 | 9.852 | 1.5826 | 0.4286 | 0.3774 | 65.043
2024 | 4 |  | 0.0028 | 0.5044 | 27.6247 | 9.6316 | 1.4932 | 9.6765 | 13.8464 | 0.0036 | 1.8333 | 10.5596 | 1.4689 | 0.5192 | 0.3969 | 77.5611
2025 | 1 |  | 0 | 0.4498 | 31.6529 | 9.5099 | 1.647 | 9.5387 | 12.9769 | 0.0052 | 2.6528 | 10.2155 | 1.5084 | 0.5509 | 0.4956 | 81.2036
2025 | 2 |  | 0 | 0.4334 | 17.6016 | 9.8594 | 0.7143 | 7.0335 | 10.4799 | 0.0046 | 8.413 | 9.7748 | 1.529 | 0.195 | 0.567 | 66.6056
2025 | 3 |  | 0 | 0.405 | 18.8672 | 8.1465 | 1.057 | 6.9686 | 10.8249 | 0.0037 | 6.9375 | 10.2631 | 1.5173 | 0.209 | 0.5483 | 65.7481
2025 | 4 |  | 0 | 0.4095 | 25.0809 | 8.335 | 1.968 | 10.8787 | 17.7389 | 0.0025 | 2.1219 | 10.7733 | 1.5625 | 0.4824 | 0.6639 | 80.0175
2026 | 1 |  | 0 | 0.4075 | 26.6067 | 8.8337 | 1.5737 | 12.4155 | 16.8979 | 0.0018 | 2.6997 | 10.0711 | 1.5177 | 0.4392 | 0.8217 | 82.2863
Yellow cells = backfilled estimates from annual DUKES data (see Cover sheet).

## Capacity (MW)
UK Installed Nameplate Capacity by Fuel (MW) - Quarterly, All Generating Companies
Sources: DUKES 5.7 (thermal/nuclear, de-rated NOT applied to these fuels) + DUKES 6.2 (wind/solar/marine/hydro, nameplate not de-rated). See Cover sheet - important correction explained there.
Year | Quarter | Coal | Oil | Gas | Nuclear | Hydro (natural flow) | Onshore wind | Offshore wind | Shoreline wave / tidal | Solar | Bioenergy | Other fuels | Pumped storage | Battery storage | Total capacity | Capacity forward filled (2025-26)
2000 | 1 | 25428.42 | 4331.96 | 23257.99 | 12486 | 1602.56 | 431.33 | 3.8 | 0.5 | 1.93 | 776.08 | 7709.43 | 2788 | [x] | 78450.511
2000 | 2 | 25428.42 | 4331.96 | 23257.99 | 12486 | 1602.56 | 431.33 | 3.8 | 0.5 | 1.93 | 776.08 | 7709.43 | 2788 | [x] | 78450.511
2000 | 3 | 25428.42 | 4331.96 | 23257.99 | 12486 | 1602.56 | 431.33 | 3.8 | 0.5 | 1.93 | 776.08 | 7709.43 | 2788 | [x] | 78450.511
2000 | 4 | 25428.42 | 4331.96 | 23257.99 | 12486 | 1602.56 | 431.33 | 3.8 | 0.5 | 1.93 | 776.08 | 7709.43 | 2788 | [x] | 78450.511
2001 | 1 | 25519.25 | 4325.4 | 24277.96 | 12486 | 1628.7 | 489.54 | 3.8 | 0.5 | 2.75 | 799.09 | 7761.38 | 2788 | [x] | 79677.87
2001 | 2 | 25519.25 | 4325.4 | 24277.96 | 12486 | 1628.7 | 489.54 | 3.8 | 0.5 | 2.75 | 799.09 | 7761.38 | 2788 | [x] | 79677.87
2001 | 3 | 25519.25 | 4325.4 | 24277.96 | 12486 | 1628.7 | 489.54 | 3.8 | 0.5 | 2.75 | 799.09 | 7761.38 | 2788 | [x] | 79677.87
2001 | 4 | 25519.25 | 4325.4 | 24277.96 | 12486 | 1628.7 | 489.54 | 3.8 | 0.5 | 2.75 | 799.09 | 7761.38 | 2788 | [x] | 79677.87
2002 | 1 | 23126.44 | 3657.07 | 24577.31 | 12240 | 1583.05 | 530.64 | 3.8 | 0.5 | 4.14 | 880.52 | 7738.78 | 2788 | [x] | 76704.8189
2002 | 2 | 23126.44 | 3657.07 | 24577.31 | 12240 | 1583.05 | 530.64 | 3.8 | 0.5 | 4.14 | 880.52 | 7738.78 | 2788 | [x] | 76704.8189
2002 | 3 | 23126.44 | 3657.07 | 24577.31 | 12240 | 1583.05 | 530.64 | 3.8 | 0.5 | 4.14 | 880.52 | 7738.78 | 2788 | [x] | 76704.8189
2002 | 4 | 23126.44 | 3657.07 | 24577.31 | 12240 | 1583.05 | 530.64 | 3.8 | 0.5 | 4.14 | 880.52 | 7738.78 | 2788 | [x] | 76704.8189
2003 | 1 | 23218.27 | 3890.32 | 26046.59 | 11852 | 1484.5 | 678.38 | 63.8 | 0.5 | 6 | 1053.26 | 7692.27 | 2788 | [x] | 78262.6395
2003 | 2 | 23218.27 | 3890.32 | 26046.59 | 11852 | 1484.5 | 678.38 | 63.8 | 0.5 | 6 | 1053.26 | 7692.27 | 2788 | [x] | 78262.6395
2003 | 3 | 23218.27 | 3890.32 | 26046.59 | 11852 | 1484.5 | 678.38 | 63.8 | 0.5 | 6 | 1053.26 | 7692.27 | 2788 | [x] | 78262.6395
2003 | 4 | 23218.27 | 3890.32 | 26046.59 | 11852 | 1484.5 | 678.38 | 63.8 | 0.5 | 6 | 1053.26 | 7692.27 | 2788 | [x] | 78262.6395
2004 | 1 | 23265.76 | 4292.22 | 26999.1 | 11852 | 1498.78 | 809.36 | 123.8 | 0.5 | 8.16 | 1180.53 | 7926.35 | 2788 | [x] | 80114.398
2004 | 2 | 23265.76 | 4292.22 | 26999.1 | 11852 | 1498.78 | 809.36 | 123.8 | 0.5 | 8.16 | 1180.53 | 7926.35 | 2788 | [x] | 80114.398
2004 | 3 | 23265.76 | 4292.22 | 26999.1 | 11852 | 1498.78 | 809.36 | 123.8 | 0.5 | 8.16 | 1180.53 | 7926.35 | 2788 | [x] | 80114.398
2004 | 4 | 23265.76 | 4292.22 | 26999.1 | 11852 | 1498.78 | 809.36 | 123.8 | 0.5 | 8.16 | 1180.53 | 7926.35 | 2788 | [x] | 80114.398
2005 | 1 | 23247.72 | 4323.65 | 27764.66 | 11852 | 1501.09 | 1351.2 | 213.8 | 0.5 | 10.9 | 1293.59 | 8025.52 | 2788 | [x] | 81370.4642
2005 | 2 | 23247.72 | 4323.65 | 27764.66 | 11852 | 1501.09 | 1351.2 | 213.8 | 0.5 | 10.9 | 1293.59 | 8025.52 | 2788 | [x] | 81370.4642
2005 | 3 | 23247.72 | 4323.65 | 27764.66 | 11852 | 1501.09 | 1351.2 | 213.8 | 0.5 | 10.9 | 1293.59 | 8025.52 | 2788 | [x] | 81370.4642
2005 | 4 | 23247.72 | 4323.65 | 27764.66 | 11852 | 1501.09 | 1351.2 | 213.8 | 0.5 | 10.9 | 1293.59 | 8025.52 | 2788 | [x] | 81370.4642
2006 | 1 | 23513.14 | 4958.58 | 28061.32 | 10969 | 1514.75 | 1650.72 | 303.8 | 0.5 | 14.26 | 1371.03 | 8543.25 | 2726 | [x] | 82402.3089
2006 | 2 | 23513.14 | 4958.58 | 28061.32 | 10969 | 1514.75 | 1650.72 | 303.8 | 0.5 | 14.26 | 1371.03 | 8543.25 | 2726 | [x] | 82402.3089
2006 | 3 | 23513.14 | 4958.58 | 28061.32 | 10969 | 1514.75 | 1650.72 | 303.8 | 0.5 | 14.26 | 1371.03 | 8543.25 | 2726 | [x] | 82402.3089
2006 | 4 | 23513.14 | 4958.58 | 28061.32 | 10969 | 1514.75 | 1650.72 | 303.8 | 0.5 | 14.26 | 1371.03 | 8543.25 | 2726 | [x] | 82402.3089
2007 | 1 | 23618.91 | 4938.35 | 28375.7 | 10979 | 1521.6 | 2083.38 | 393.8 | 0.5 | 18.1 | 1521.82 | 8099.79 | 2744 | [x] | 82741.3075
2007 | 2 | 23618.91 | 4938.35 | 28375.7 | 10979 | 1521.6 | 2083.38 | 393.8 | 0.5 | 18.1 | 1521.82 | 8099.79 | 2744 | [x] | 82741.3075
2007 | 3 | 23618.91 | 4938.35 | 28375.7 | 10979 | 1521.6 | 2083.38 | 393.8 | 0.5 | 18.1 | 1521.82 | 8099.79 | 2744 | [x] | 82741.3075
2007 | 4 | 23618.91 | 4938.35 | 28375.7 | 10979 | 1521.6 | 2083.38 | 393.8 | 0.5 | 18.1 | 1521.82 | 8099.79 | 2744 | [x] | 82741.3075
2008 | 1 | 23675.45 | 4955.42 | 30061.57 | 10979 | 1623.45 | 2850.31 | 596.2 | 0.5 | 22.51 | 1559.95 | 6712.35 | 2744 | [x] | 83697.1647
2008 | 2 | 23675.45 | 4955.42 | 30061.57 | 10979 | 1623.45 | 2850.31 | 596.2 | 0.5 | 22.51 | 1559.95 | 6712.35 | 2744 | [x] | 83697.1647
2008 | 3 | 23675.45 | 4955.42 | 30061.57 | 10979 | 1623.45 | 2850.31 | 596.2 | 0.5 | 22.51 | 1559.95 | 6712.35 | 2744 | [x] | 83697.1647
2008 | 4 | 23675.45 | 4955.42 | 30061.57 | 10979 | 1623.45 | 2850.31 | 596.2 | 0.5 | 22.51 | 1559.95 | 6712.35 | 2744 | [x] | 83697.1647
2009 | 1 | 23678.12 | 5128.41 | 30580.5 | 10858 | 1634.32 | 3468.37 | 951.2 | 2.45 | 26.5 | 1724.01 | 6682.26 | 2744 | [x] | 84830.8567
2009 | 2 | 23678.12 | 5128.41 | 30580.5 | 10858 | 1634.32 | 3468.37 | 951.2 | 2.45 | 26.5 | 1724.01 | 6682.26 | 2744 | [x] | 84830.8567
2009 | 3 | 23678.12 | 5128.41 | 30580.5 | 10858 | 1634.32 | 3468.37 | 951.2 | 2.45 | 26.5 | 1724.01 | 6682.26 | 2744 | [x] | 84830.8567
2009 | 4 | 23678.12 | 5128.41 | 30580.5 | 10858 | 1634.32 | 3468.37 | 951.2 | 2.45 | 26.5 | 1724.01 | 6682.26 | 2744 | [x] | 84830.8567
2010 | 1 | 23682.21 | 5168.21 | 35563.66 | 10865 | 1646.44 | 4079.78 | 1341.45 | 3.75 | 95.05 | 1887.68 | 6606.49 | 2744 | [x] | 90393.3079
2010 | 2 | 23682.21 | 5168.21 | 35563.66 | 10865 | 1646.44 | 4079.78 | 1341.45 | 3.75 | 95.05 | 1887.68 | 6606.49 | 2744 | [x] | 90393.3079
2010 | 3 | 23682.21 | 5168.21 | 35563.66 | 10865 | 1646.44 | 4079.78 | 1341.45 | 3.75 | 95.05 | 1887.68 | 6606.49 | 2744 | [x] | 90393.3079
2010 | 4 | 23682.21 | 5168.21 | 35563.66 | 10865 | 1646.44 | 4079.78 | 1341.45 | 3.75 | 95.05 | 1887.68 | 6606.49 | 2744 | [x] | 90393.3079
2011 | 1 | 23665.37 | 4994.42 | 33997.54 | 10663 | 1678.31 | 4758.03 | 1838.25 | 3.86 | 1000.23 | 2874.38 | 5607.55 | 2744 | [x] | 89104.5806
2011 | 2 | 23665.37 | 4994.42 | 33997.54 | 10663 | 1678.31 | 4758.03 | 1838.25 | 3.86 | 1000.23 | 2874.38 | 5607.55 | 2744 | [x] | 89104.5806
2011 | 3 | 23665.37 | 4994.42 | 33997.54 | 10663 | 1678.31 | 4758.03 | 1838.25 | 3.86 | 1000.23 | 2874.38 | 5607.55 | 2744 | [x] | 89104.5806
2011 | 4 | 23665.37 | 4994.42 | 33997.54 | 10663 | 1678.31 | 4758.03 | 1838.25 | 3.86 | 1000.23 | 2874.38 | 5607.55 | 2744 | [x] | 89104.5806
2012 | 1 | 23661.17 | 3629.9 | 37031.89 | 9946 | 1692.75 | 6034.97 | 2995.45 | 8.55 | 1753.49 | 2873.45 | 3672.91 | 2744 | [x] | 89299.5161
2012 | 2 | 23661.17 | 3629.9 | 37031.89 | 9946 | 1692.75 | 6034.97 | 2995.45 | 8.55 | 1753.49 | 2873.45 | 3672.91 | 2744 | [x] | 89299.5161
2012 | 3 | 23661.17 | 3629.9 | 37031.89 | 9946 | 1692.75 | 6034.97 | 2995.45 | 8.55 | 1753.49 | 2873.45 | 3672.91 | 2744 | [x] | 89299.5161
2012 | 4 | 23661.17 | 3629.9 | 37031.89 | 9946 | 1692.75 | 6034.97 | 2995.45 | 8.55 | 1753.49 | 2873.45 | 3672.91 | 2744 | [x] | 89299.5161
2013 | 1 | 20618.9 | 2700.08 | 36718.63 | 9906 | 1708.71 | 7586.32 | 3695.95 | 8.05 | 2937.25 | 3334.9 | 1702.77 | 2744 | [x] | 84640.6
2013 | 2 | 20618.9 | 2700.08 | 36718.63 | 9906 | 1708.71 | 7586.32 | 3695.95 | 8.05 | 2937.25 | 3334.9 | 1702.77 | 2744 | [x] | 84640.6
2013 | 3 | 20618.9 | 2700.08 | 36718.63 | 9906 | 1708.71 | 7586.32 | 3695.95 | 8.05 | 2937.25 | 3334.9 | 1702.77 | 2744 | [x] | 84640.6
2013 | 4 | 20618.9 | 2700.08 | 36718.63 | 9906 | 1708.71 | 7586.32 | 3695.95 | 8.05 | 2937.25 | 3334.9 | 1702.77 | 2744 | [x] | 84640.6
2014 | 1 | 18764.98 | 2669.8 | 35733.44 | 9937 | 1729.35 | 8572.65 | 4501.3 | 8.69 | 5528.07 | 4756.14 | 1672.38 | 2744 | [x] | 84411.7118
2014 | 2 | 18764.98 | 2669.8 | 35733.44 | 9937 | 1729.35 | 8572.65 | 4501.3 | 8.69 | 5528.07 | 4756.14 | 1672.38 | 2744 | [x] | 84411.7118
2014 | 3 | 18764.98 | 2669.8 | 35733.44 | 9937 | 1729.35 | 8572.65 | 4501.3 | 8.69 | 5528.07 | 4756.14 | 1672.38 | 2744 | [x] | 84411.7118
2014 | 4 | 18764.98 | 2669.8 | 35733.44 | 9937 | 1729.35 | 8572.65 | 4501.3 | 8.69 | 5528.07 | 4756.14 | 1672.38 | 2744 | [x] | 84411.7118
2015 | 1 | 17555.83 | 1393.3 | 32476.93 | 9261 | 1776.98 | 9212.23 | 5093.4 | 8.94 | 9601.22 | 5090.15 | 1545.92 | 2744 | [x] | 79539.6466
2015 | 2 | 17555.83 | 1393.3 | 32476.93 | 9261 | 1776.98 | 9212.23 | 5093.4 | 8.94 | 9601.22 | 5090.15 | 1545.92 | 2744 | [x] | 79539.6466
2015 | 3 | 17555.83 | 1393.3 | 32476.93 | 9261 | 1776.98 | 9212.23 | 5093.4 | 8.94 | 9601.22 | 5090.15 | 1545.92 | 2744 | [x] | 79539.6466
2015 | 4 | 17555.83 | 1393.3 | 32476.93 | 9261 | 1776.98 | 9212.23 | 5093.4 | 8.94 | 9601.22 | 5090.15 | 1545.92 | 2744 | [x] | 79539.6466
2016 | 1 | 13698.52 | 1285.46 | 33248.4 | 9261 | 1832.52 | 10832.53 | 5293.4 | 13.49 | 11914.03 | 5701.17 | 1503.64 | 2744 | [x] | 78110.4715
2016 | 2 | 13698.52 | 1285.46 | 33248.4 | 9261 | 1832.52 | 10832.53 | 5293.4 | 13.49 | 11914.03 | 5701.17 | 1503.64 | 2744 | [x] | 78110.4715
2016 | 3 | 13698.52 | 1285.46 | 33248.4 | 9261 | 1832.52 | 10832.53 | 5293.4 | 13.49 | 11914.03 | 5701.17 | 1503.64 | 2744 | [x] | 78110.4715
2016 | 4 | 13698.52 | 1285.46 | 33248.4 | 9261 | 1832.52 | 10832.53 | 5293.4 | 13.49 | 11914.03 | 5701.17 | 1503.64 | 2744 | [x] | 78110.4715
2017 | 1 | 13363.45 | 1206.23 | 35045.56 | 9261 | 1869.64 | 12597.15 | 6987.85 | 18.4 | 12760.03 | 6057.89 | 1405.39 | 2744 | [x] | 81299.4752
2017 | 2 | 13363.45 | 1206.23 | 35045.56 | 9261 | 1869.64 | 12597.15 | 6987.85 | 18.4 | 12760.03 | 6057.89 | 1405.39 | 2744 | [x] | 81299.4752
2017 | 3 | 13363.45 | 1206.23 | 35045.56 | 9261 | 1869.64 | 12597.15 | 6987.85 | 18.4 | 12760.03 | 6057.89 | 1405.39 | 2744 | [x] | 81299.4752
2017 | 4 | 13363.45 | 1206.23 | 35045.56 | 9261 | 1869.64 | 12597.15 | 6987.85 | 18.4 | 12760.03 | 6057.89 | 1405.39 | 2744 | [x] | 81299.4752
2018 | 1 | 12336.8521 | 1386.2043 | 35616.4492 | 9261 | 1877.19 | 13425.12 | 8180.5 | 20.4 | 13059.07 | 7510.5159 | 934.7423 | 2744 | [x] | 82929.0193
2018 | 2 | 12336.8521 | 1386.2043 | 35616.4492 | 9261 | 1877.19 | 13425.12 | 8180.5 | 20.4 | 13059.07 | 7510.5159 | 934.7423 | 2744 | [x] | 82929.0193
2018 | 3 | 12336.8521 | 1386.2043 | 35616.4492 | 9261 | 1877.19 | 13425.12 | 8180.5 | 20.4 | 13059.07 | 7510.5159 | 934.7423 | 2744 | [x] | 82929.0193
2018 | 4 | 12336.8521 | 1386.2043 | 35616.4492 | 9261 | 1877.19 | 13425.12 | 8180.5 | 20.4 | 13059.07 | 7510.5159 | 934.7423 | 2744 | [x] | 82929.0193
2019 | 1 | 6817.4878 | 1411.836 | 34667.4586 | 9261 | 1879.87 | 13998.81 | 9888.1 | 22.4 | 13344.84 | 7851.0775 | 1041.7082 | 2744 | [x] | 77965.1396
2019 | 2 | 6817.4878 | 1411.836 | 34667.4586 | 9261 | 1879.87 | 13998.81 | 9888.1 | 22.4 | 13344.84 | 7851.0775 | 1041.7082 | 2744 | [x] | 77965.1396
2019 | 3 | 6817.4878 | 1411.836 | 34667.4586 | 9261 | 1879.87 | 13998.81 | 9888.1 | 22.4 | 13344.84 | 7851.0775 | 1041.7082 | 2744 | [x] | 77965.1396
2019 | 4 | 6817.4878 | 1411.836 | 34667.4586 | 9261 | 1879.87 | 13998.81 | 9888.1 | 22.4 | 13344.84 | 7851.0775 | 1041.7082 | 2744 | [x] | 77965.1396
2020 | 1 | 5360.8794 | 1274.6969 | 34923.8166 | 7833 | 1885.27 | 14075.08 | 10382.85 | 9.8 | 13746.55 | 7960.284 | 1078.6651 | 2744 | [x] | 75627.0113
2020 | 2 | 5360.8794 | 1274.6969 | 34923.8166 | 7833 | 1885.27 | 14075.08 | 10382.85 | 9.8 | 13746.55 | 7960.284 | 1078.6651 | 2744 | [x] | 75627.0113
2020 | 3 | 5360.8794 | 1274.6969 | 34923.8166 | 7833 | 1885.27 | 14075.08 | 10382.85 | 9.8 | 13746.55 | 7960.284 | 1078.6651 | 2744 | [x] | 75627.0113
2020 | 4 | 5360.8794 | 1274.6969 | 34923.8166 | 7833 | 1885.27 | 14075.08 | 10382.85 | 9.8 | 13746.55 | 7960.284 | 1078.6651 | 2744 | [x] | 75627.0113
2021 | 1 | 5359.8654 | 1347.2424 | 34873.6782 | 7833 | 1890.16 | 14492.76 | 11255.48 | 9.8 | 14150.76 | 8148.9781 | 1069.0072 | 2744 | [x] | 76445.8702
2021 | 2 | 5359.8654 | 1347.2424 | 34873.6782 | 7833 | 1890.16 | 14492.76 | 11255.48 | 9.8 | 14150.76 | 8148.9781 | 1069.0072 | 2744 | [x] | 76445.8702
2021 | 3 | 5359.8654 | 1347.2424 | 34873.6782 | 7833 | 1890.16 | 14492.76 | 11255.48 | 9.8 | 14150.76 | 8148.9781 | 1069.0072 | 2744 | [x] | 76445.8702
2021 | 4 | 5359.8654 | 1347.2424 | 34873.6782 | 7833 | 1890.16 | 14492.76 | 11255.48 | 9.8 | 14150.76 | 8148.9781 | 1069.0072 | 2744 | [x] | 76445.8702
2022 | 1 | 5339.8242 | 1481.5879 | 34870.7426 | 5883 | 1890.816 | 14840.36 | 13767.85 | 8.2 | 14701.97 | 8126.1765 | 843.3665 | 2744 | [x] | 75695.214
2022 | 2 | 5339.8242 | 1481.5879 | 34870.7426 | 5883 | 1890.816 | 14840.36 | 13767.85 | 8.2 | 14701.97 | 8126.1765 | 843.3665 | 2744 | [x] | 75695.214
2022 | 3 | 5339.8242 | 1481.5879 | 34870.7426 | 5883 | 1890.816 | 14840.36 | 13767.85 | 8.2 | 14701.97 | 8126.1765 | 843.3665 | 2744 | [x] | 75695.214
2022 | 4 | 5339.8242 | 1481.5879 | 34870.7426 | 5883 | 1890.816 | 14840.36 | 13767.85 | 8.2 | 14701.97 | 8126.1765 | 843.3665 | 2744 | [x] | 75695.214
2023 | 1 | 2045.7 | 1409.2449 | 36119.2905 | 5883 | 1859.086 | 15423.65 | 14652.85 | 6.2 | 16198.38 | 8184.2717 | 240.0209 | 2744 | [x] | 73887.319
2023 | 2 | 2045.7 | 1409.2449 | 36119.2905 | 5883 | 1859.086 | 15423.65 | 14652.85 | 6.2 | 16198.38 | 8184.2717 | 240.0209 | 2744 | [x] | 73887.319
2023 | 3 | 2045.7 | 1409.2449 | 36119.2905 | 5883 | 1859.086 | 15423.65 | 14652.85 | 6.2 | 16198.38 | 8184.2717 | 240.0209 | 2744 | [x] | 73887.319
2023 | 4 | 2045.7 | 1409.2449 | 36119.2905 | 5883 | 1859.086 | 15423.65 | 14652.85 | 6.2 | 16198.38 | 8184.2717 | 240.0209 | 2744 | [x] | 73887.319
2024 | 1 | 18.4763 | 1253.1276 | 34739.5388 | 5883 | 1898.806 | 16166.23 | 15836.05 | 7.7 | 18279.9 | 8264.9745 | 239.0095 | 2744 | [x] | 71676.8003
2024 | 2 | 18.4763 | 1253.1276 | 34739.5388 | 5883 | 1898.806 | 16166.23 | 15836.05 | 7.7 | 18279.9 | 8264.9745 | 239.0095 | 2744 | [x] | 71676.8003
2024 | 3 | 18.4763 | 1253.1276 | 34739.5388 | 5883 | 1898.806 | 16166.23 | 15836.05 | 7.7 | 18279.9 | 8264.9745 | 239.0095 | 2744 | [x] | 71676.8003
2024 | 4 | 18.4763 | 1253.1276 | 34739.5388 | 5883 | 1898.806 | 16166.23 | 15836.05 | 7.7 | 18279.9 | 8264.9745 | 239.0095 | 2744 | [x] | 71676.8003
2025 | 1 | 18.4763 | 1253.1276 | 34739.5388 | 5883 | 1898.806 | 16166.23 | 15836.05 | 7.7 | 18279.9 | 8264.9745 | 239.0095 | 2744 | [x] | 71676.8003
2025 | 2 | 18.4763 | 1253.1276 | 34739.5388 | 5883 | 1898.806 | 16166.23 | 15836.05 | 7.7 | 18279.9 | 8264.9745 | 239.0095 | 2744 | [x] | 71676.8003
2025 | 3 | 18.4763 | 1253.1276 | 34739.5388 | 5883 | 1898.806 | 16166.23 | 15836.05 | 7.7 | 18279.9 | 8264.9745 | 239.0095 | 2744 | [x] | 71676.8003
2025 | 4 | 18.4763 | 1253.1276 | 34739.5388 | 5883 | 1898.806 | 16166.23 | 15836.05 | 7.7 | 18279.9 | 8264.9745 | 239.0095 | 2744 | [x] | 71676.8003
2026 | 1 | 18.4763 | 1253.1276 | 34739.5388 | 5883 | 1898.806 | 16166.23 | 15836.05 | 7.7 | 18279.9 | 8264.9745 | 239.0095 | 2744 | [x] | 71676.8003
Amber cells = 2025-26 forward-filled from 2024 DUKES figures. See Cover sheet for the de-rated-vs-nameplate correction and the 2024 coal caveat.

## Capacity Factor (%)
UK Capacity Factor by Fuel (%) - Quarterly, All Generating Companies
Live formula: Capacity Factor = Generation (TWh) x 1,000,000 / (Capacity (MW) x hours in quarter). "n/a" where capacity unavailable. See Cover sheet for 2024 coal and "Other fuels" caveats.
Year | Quarter | Hours in quarter | Coal | Oil | Gas | Nuclear | Hydro (natural flow) | Onshore wind | Offshore wind | Shoreline wave / tidal | Solar | Bioenergy | Other fuels | Pumped storage | Battery storage
2000 | 1 | 2184
2000 | 2 | 2184
2000 | 3 | 2208
2000 | 4 | 2208
2001 | 1 | 2160
2001 | 2 | 2184
2001 | 3 | 2208
2001 | 4 | 2208
2002 | 1 | 2160
2002 | 2 | 2184
2002 | 3 | 2208
2002 | 4 | 2208
2003 | 1 | 2160
2003 | 2 | 2184
2003 | 3 | 2208
2003 | 4 | 2208
2004 | 1 | 2184
2004 | 2 | 2184
2004 | 3 | 2208
2004 | 4 | 2208
2005 | 1 | 2160
2005 | 2 | 2184
2005 | 3 | 2208
2005 | 4 | 2208
2006 | 1 | 2160
2006 | 2 | 2184
2006 | 3 | 2208
2006 | 4 | 2208
2007 | 1 | 2160
2007 | 2 | 2184
2007 | 3 | 2208
2007 | 4 | 2208
2008 | 1 | 2184
2008 | 2 | 2184
2008 | 3 | 2208
2008 | 4 | 2208
2009 | 1 | 2160
2009 | 2 | 2184
2009 | 3 | 2208
2009 | 4 | 2208
2010 | 1 | 2160
2010 | 2 | 2184
2010 | 3 | 2208
2010 | 4 | 2208
2011 | 1 | 2160
2011 | 2 | 2184
2011 | 3 | 2208
2011 | 4 | 2208
2012 | 1 | 2184
2012 | 2 | 2184
2012 | 3 | 2208
2012 | 4 | 2208
2013 | 1 | 2160
2013 | 2 | 2184
2013 | 3 | 2208
2013 | 4 | 2208
2014 | 1 | 2160
2014 | 2 | 2184
2014 | 3 | 2208
2014 | 4 | 2208
2015 | 1 | 2160
2015 | 2 | 2184
2015 | 3 | 2208
2015 | 4 | 2208
2016 | 1 | 2184
2016 | 2 | 2184
2016 | 3 | 2208
2016 | 4 | 2208
2017 | 1 | 2160
2017 | 2 | 2184
2017 | 3 | 2208
2017 | 4 | 2208
2018 | 1 | 2160
2018 | 2 | 2184
2018 | 3 | 2208
2018 | 4 | 2208
2019 | 1 | 2160
2019 | 2 | 2184
2019 | 3 | 2208
2019 | 4 | 2208
2020 | 1 | 2184
2020 | 2 | 2184
2020 | 3 | 2208
2020 | 4 | 2208
2021 | 1 | 2160
2021 | 2 | 2184
2021 | 3 | 2208
2021 | 4 | 2208
2022 | 1 | 2160
2022 | 2 | 2184
2022 | 3 | 2208
2022 | 4 | 2208
2023 | 1 | 2160
2023 | 2 | 2184
2023 | 3 | 2208
2023 | 4 | 2208
2024 | 1 | 2184
2024 | 2 | 2184
2024 | 3 | 2208
2024 | 4 | 2208
2025 | 1 | 2160
2025 | 2 | 2184
2025 | 3 | 2208
2025 | 4 | 2208
2026 | 1 | 2160
Red cells = flagged as unreliable (2024 coal capacity collapse; "Other fuels" category mismatch). See Cover sheet.
Formulas reference the Generation and Capacity sheets directly - recalculates automatically if source data is edited.

## Curtailment Costs (GBP)
GB System Balancing Constraint Costs (GBP) - Quarterly, by Category
Source: NESO "Constraint Breakdown" dataset (daily, aggregated to quarterly). Complete series, Q2 2017 to Q1 2026, no gaps. See Cover sheet.
Year | Quarter | Total cost (GBP) | Thermal constraints cost | Voltage constraints cost | Increasing system inertia cost | Reducing largest loss cost
2017 | 2 | 96639084 | 70605838 | 9347962 | 37001 | 16648283
2017 | 3 | 99005499 | 67188174 | 11362939 | 974626 | 19479760
2017 | 4 | 141449810 | 120416164 | 5897635 | 1200061 | 13935950
2018 | 1 | 59791954 | 51186029 | 1703322 | 526134 | 6376469
2018 | 2 | 94027313 | 64427301 | 5107434 | 246688 | 24245890
2018 | 3 | 174710142 | 125881585 | 6077618 | 1113292 | 41637647
2018 | 4 | 185266979 | 140081900 | 4042812 | 498770 | 40643497
2019 | 1 | 161184352 | 117801129 | 8168507 | 3615560 | 31599156
2019 | 2 | 105048963 | 52104517 | 12276067 | 2315583 | 38352796
2019 | 3 | 139278403 | 61981910 | 29697961 | 1115333 | 46483199
2019 | 4 | 179690482 | 116306466 | 12261692 | 280817 | 50841507
2020 | 1 | 266831654 | 189259707 | 6039716 | 1862445 | 69669786
2020 | 2 | 236224237 | 78917182 | 41434021 | 13800836 | 102072198
2020 | 3 | 207227824 | 97816917 | 16758923 | 8679567 | 83972417
2020 | 4 | 312606394 | 230070326 | 11888599 | 1670269 | 68977200
2021 | 1 | 215324917 | 139417150 | 7153810 | 3103617 | 65650340
2021 | 2 | 129369426 | 46856624 | 14380411 | 2731135 | 65401256
2021 | 3 | 97772409 | 31249584 | 22574077 | 4912823 | 39035925
2021 | 4 | 697335847 | 626654685 | 40389774 | 20130407 | 10160981
2022 | 1 | 495784315 | 429479444 | 33878950 | 32392154 | 33767
2022 | 2 | 334876979 | 301538072 | 18064049 | 12604921 | 2669937
2022 | 3 | 490180874 | 470399418 | 7485227 | 9599636 | 2696593
2022 | 4 | 615016784 | 507950540 | 56974554 | 49913156 | 178534
2023 | 1 | 314207713 | 223624805 | 58860938 | 31721970 | 0
2023 | 2 | 196915227 | 140504642 | 41727688 | 14682897 | 0
2023 | 3 | 369941734 | 258098626 | 70922083 | 40933676 | -12651
2023 | 4 | 474908925 | 358360039 | 94419593 | 22129293 | 0
2024 | 1 | 348702946 | 282643764 | 61218117 | 4841065 | 0
2024 | 2 | 350209611 | 262471398 | 76007459 | 11730754 | 0
2024 | 3 | 396558453 | 336629327 | 39458574 | 20470552 | 0
2024 | 4 | 631683311 | 600721970 | 24897512 | 6063829 | 0
2025 | 1 | 526178378 | 510181360 | 13488385 | 2508633 | 0
2025 | 2 | 439586820 | 323921217 | 94120330 | 21545273 | 0
2025 | 3 | 493690385 | 436189382 | 42860039 | 14640964 | 0
2025 | 4 | 610250024 | 560612809 | 45693566 | 3943649 | 0
2026 | 1 | 666293008 | 635326343 | 29689800 | 1276865 | 0
Complete series, no gaps. Red = Q4 2021, an unusually large cost spike (£697m) - flagged, not smoothed. See Cover sheet.